## Instructions
Rental Property Lab — Preventive Maintenance Planner
RentalPropertyLab.com · Educational template — not tax, legal, or investment advice.
What this planner does
• Logs every preventive maintenance task by property, system, frequency, and season.
• Calculates the next due date from the last completed date and the task frequency.
• Tracks responsible party, estimated and actual cost, and status so you can see what is overdue at a glance.
How to use it
• Enter the property, system/component, task, and choose a Frequency and Season from the dropdowns.
• Record the Last Completed date; Next Due calculates automatically.
• Set Status to Not Started, In Progress, or Completed. Sort or filter by Next Due to see what is coming.
• Review the planner at the start of each season and after any turnover.
Notes
• Small scheduled work prevents large unscheduled work — a $200 gutter clean avoids a $4,000 fascia repair.
• Add property-specific tasks (well pump, septic, oil heat) below the seeded rows.
• Keep vendor contact details in the Notes column or a separate vendor list.
Cell color legend
Enter your numbers here
Calculated automatically — do not edit

## Maintenance Planner
Rental Property Preventive Maintenance Planner
Portfolio:
Property | System / Component | Maintenance Task | Frequency | Season | Last Completed | Next Due | Responsible Party | Estimated Cost | Actual Cost | Status | Notes
All | Roof | Inspect roof surface, flashing, and attic for staining | Annual | Spring |  | 0 |  |  |  | Not Started
All | Gutters | Clear gutters and downspouts; confirm discharge away from foundation | Annual | Spring |  | 0 |  |  |  | Not Started
All | HVAC | AC service: coil clean, refrigerant check, condensate flush | Annual | Spring |  | 0 |  |  |  | Not Started
All | Exterior | Recaulk exterior windows, doors, and penetrations | Annual | Spring |  | 0 |  |  |  | Not Started
All | Site | Check grading; regrade low spots against foundation | Annual | Spring |  | 0 |  |  |  | Not Started
All | Electrical | Test GFCI outlets and exterior lighting | Annual | Spring |  | 0 |  |  |  | Not Started
All | Appliances | Clean dryer vent; confirm exterior flap operation | Annual | Summer |  | 0 |  |  |  | Not Started
All | Exterior | Inspect deck boards, railings, and stair treads | Annual | Summer |  | 0 |  |  |  | Not Started
All | Pest | Schedule pest inspection; treat perimeter | Annual | Summer |  | 0 |  |  |  | Not Started
All | Irrigation | Check irrigation, hose bibs, and sprinkler coverage | Annual | Summer |  | 0 |  |  |  | Not Started
All | Landscaping | Trim vegetation at least 18 in from siding and roofline | Annual | Summer |  | 0 |  |  |  | Not Started
All | HVAC | Service furnace or boiler; replace filter; verify flue draft | Annual | Fall |  | 0 |  |  |  | Not Started
All | Water heater | Flush water heater; test pressure relief valve | Annual | Fall |  | 0 |  |  |  | Not Started
All | Weatherization | Replace worn weatherstripping and door sweeps | Annual | Fall |  | 0 |  |  |  | Not Started
All | Plumbing | Shut off and drain exterior spigots; insulate exposed pipe | Annual | Fall |  | 0 |  |  |  | Not Started
All | Life safety | Test every smoke and CO detector; replace batteries; log date | Semi-annual | Winter |  | 0 |  |  |  | Not Started
All | Attic | Inspect attic for frost, condensation, or ice damming | Annual | Winter |  | 0 |  |  |  | Not Started
All | HVAC | HVAC filter change and unit walkthrough | Quarterly | All |  | 0 |  |  |  | Not Started
TOTAL COST | [7 empty] | 0 | 0
Formulas:
Next Due = IFERROR(EDATE([Last Completed],IF([Frequency]="Monthly",1,IF([Frequency]="Quarterly",3,IF([Frequency]="Semi-annual",6,IF([Frequency]="Annual",12,IF([Frequency]="Biennial",24,12)))))),"")